AyShCXR — Fair Comparison Against the Reference Baseline

Reproduced CheXpert-paper DenseNet-121 vs our models, under one identical 3-fold protocol

Subhrakant Sethi & Ayush Singh  •  Thapar Institute of Engineering and Technology  •  24 June 2026

Protocol

All four models were trained and evaluated under an identical, deterministic protocol — the same patient-grouped 3-fold split (GroupKFold, seed 42), the same ~90k-image subset, and the same recipe (380 px input, AdamW, focal loss, cosine schedule, 10 epochs). The reference is a vanilla DenseNet-121 (global-average-pooling + single linear head) reproducing the architecture from the CheXpert paper (Irvin & Rajpurkar, 2019). Because only the model differs, the comparison isolates the effect of our changes.

Result — 3-fold mean AUC (14 pathologies)

| Model | Role | 3-fold AUC | ±std | Fold 1 | Fold 2 | Fold 3 | Δ vs ref |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rad-DINO (ours) | Ours | 0.8089 | 0.0003 | 0.8093 | 0.8086 | 0.8089 | +0.0165 |
| DenseNet-121 + GMP+GAP (ours) | Ours | 0.7983 | 0.0010 | 0.7992 | 0.7969 | 0.7989 | +0.0059 |
| EfficientNet-B4 + GMP+GAP (ours) | Ours | 0.7644 | 0.0013 | 0.7634 | 0.7662 | 0.7637 | -0.0280 |
| DenseNet-121 (CheXpert paper, 2019) | Reference | 0.7924 | 0.0022 | 0.7950 | 0.7927 | 0.7896 | baseline |

What it shows

2 of our 3 models beat the reproduced reference baseline on the identical protocol.

Best model: Rad-DINO (medical vision transformer) — 0.8089, i.e. +0.0165 (+1.65%) over baseline.

Clean same-backbone gain: our GMP+GAP head adds +0.0059 over the vanilla DenseNet — an apples-to-apples improvement.

Fold-to-fold std is tiny (≤0.0022) → the ranking is stable, not noise.

EfficientNet-B4 is below the baseline (-0.0280) and is reported honestly.

Honest note on the ceiling:  absolute AUC (~0.80) is bounded by label quality (CheXBERT auto-labels), not model capacity. The next phase targets this label-noise ceiling directly.

Source: cv_results.csv, Baseline_vs_Ours.csv  (all four runs on the same folds).